## Slide 1: Senior Design: Low Noise Amplifier for Photoacoustic Imaging
sdmay-25-16
Advisor: Manojit Pramanik
Technical Contact: Avishek Das
Ethan Hulinsky
Jonathan Wetenkamp
Ryan Ellerbach
Yash Gaonkar

## Slide 2: Photoacoustic Tomography Overview
Weak signals
High noise levels
Amplifier solves these problems
Amplifier
PC
(imaging software)

## Slide 3: Our GOAL
Boost Signal Strength: Use pure DC battery power to minimize noise.
Compact & Modular Design: Multi-channel scalability for seamless integration.
Enhanced Usability: Improve performance and imaging quality.

## Slide 4: USER NEEDS
Primary Users:
Engineers
Postdoc researcher
Medical Professionals
Key Requirements:
High gain with Minimal noise
Modular, compact and user-friendly
Integration with existing PAT systems

## Slide 5: Project Requirements
Low noise: Less than 2 dB
Low input impedance: 50 Ohms
Bandpass filtering: 1 MHz-20 MHz (Constraint)
Gain greater than 30 dB per channel (Constraint)
Output voltage cannot exceed 10 V
Handling input voltages from 100 μV to 10 mV
10 V power supply

## Slide 6: Project Timeline

## Slide 7: Initial Testing Schematic
provided to us by our project contact

## Slide 8: Prototype Board
This is the prototype we did testing on during out first semester of our capstone Project

## Slide 9: TESTING THE PROTOTYPE

## Slide 10: Findings From testing
We were able to get the gain to match the datasheet
1
We have found a solution to fix the clipping at higher inputs
2

## Slide 12: Test Board

## Slide 13: Results/conclusions after Testing revision board 1
Increase grounding
  SMA connectors
  EM shields
  GND pads of amplifiers
Add other functionality
  Connection to battery power
  Switch to control power input

## Slide 14: Final Schematic

## Slide 15: Final 3d model

## Slide 16: Final PCB
Solder paste and stencil
Manual component placement
Reflow oven

## Slide 17: Testing
Gain
Transient Signal Integrity
Cross-Talk
Bias Voltage
Linearity

## Slide 18: Output vs Input
Signal integrity was kept through amplification

## Slide 19: Gain
Over 32dB passband
Gain can be increased by cascading channels

## Slide 20: Gain comparison
1 channel of the amplifier we designed had the highest Gain (~32.7dB)
ZFL500LN is the prototype provided to us by the client

## Slide 21: Bias Voltage
Optimal region for amplifier operation

## Slide 22: Linearity
The amplifier shows excellent linearity
Excellent for signal Processing

## Slide 23: Cross-Talk
Crosstalk between the channels with the EM shield vs without the EM shield

## Slide 24: Power Supply Vs Battery
Noise in the power plane of the board with the power supply vs the battery.

## Slide 25: Enclosure and Final Product

## Slide 26: Testing Amplifier with PAT device

## Slide 27: Future Work
Could implement 3 stages to increase gain
Changing blocking capacitors may allow bandwidth to be increased

## Slide 28: Conclusion
We were able to design a low-noise amplifier that met all the design specs
Also designed a rechargeable battery-powered power supply that is portable.
Designed an enclosure that can house the amplifier.
Validated amplifier through extensive testing
Successfully Integrated with PAT device
Cheaper than initial prototype provided by client