## Slide 1: Lightning Talk 2 – Problem and Users
sdmay25-16

## Slide 2: Project Overview
Problem Statement: Design and build an 8/16 channel amplifier with little noise to boost ultrasound signals received for the acoustic imaging system.
Constraints:
Low noise
Low input impedance
Bandpass filtering: 10k-1M
Low size (< 5x5 cm)
ESD protection

## Slide 3: Users
Post-Grad researchers
Research professors
"[Image of CEO Sundays]." Techli, n.d., https://techli.com/ceo-sundays-5-reasons-research-professors-make-the-best-tech-startup-founders/51275/.

## Slide 4: Post-Grad and Post-Doc researchers
Needs
  Low noise, high amplification amplifier to view output of acoustic imaging setup
  Amplifier that is easy to install
  Decently portable system
  Modularity so that a variety of numbers of channels can be used

## Slide 5: Professors
Needs
  Simplicity, as they will not have a lot of time to learn to use it
  Modularity, as the number of channels could vary
  New amplifier to be an improvement over the current system

## Slide 6: Conclusions
Thinking about the application and what needs to be done differently for it to work for the photoacoustic sensor
Functionality most important aspect
Usability and simplicity second most important
Limited users means very clear needs